Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[April] [2025]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [April] [2025] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 17/4/25 Obtained: 1/5/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.017 0.029 0.001 0.0024 3810 0.044 0.049 15200 0.34 9.35 0.02 0.898 0.006 0.053 7.36 2410 0.01 0.312 42.63 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 17/4/25 Obtained: 1/5/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.019 0.001 0.0003 3300 0.001 0.002 13200 0.02 0.2 0.001 0.02 0.0001 0.014 7.42 2180 0.01 0.084 25.26 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 17/4/25 Obtained: 1/5/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.023 0.001 0.0015 5760 0.016 0.005 17900 0.055 0.15 0.001 0.061 0.0001 0.021 7.04 2430 0.01 0.199 53.36 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 17/4/25 Obtained: DRY Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 17/4/25 Obtained: 1/5/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002 0.02 0.001 0.0008 4410 0.002 0.059 14800 0.059 0.66 0.011 1.07 0.0001 0.068 7.22 1000 0.01 0.272 9.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 8/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 32.49 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 35.32 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 14.64 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 8.96 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 8/4/25 Obtained: DRY Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 32.34 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 40.44 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 42.1 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 35.45 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 12.01 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 84.19 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 59.16 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: 8/4/25 Obtained: D/M/Y Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 43.23 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 17/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 109.73 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 17/4/25 Obtained: DRY Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

# [April] [2025] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 5/4/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.028 0.01 0.0027 8040 0.01 0.052 28700 0.197 0.74 0.01 0.476 0.0001 0.184 7.27 3690 0.1 0.963 4.87 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 12.53 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.24 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.46 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 21.25 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.51 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.94 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.18 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 22.55 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - GIP292A | Monthly |  | Sampled: 5/4/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.124 0.01 0.246 5.34 1380 1.13 108 33800 601 1130 0.01 708 0.0002 31.3 3.41 47800 0.7 538 9.54 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - GIP292AS | Monthly |  | Sampled: 5/4/25 Obtained: DRY Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 4/5/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.015 0.021 2.75 1320 0.01 36.4 41300 273 0.94 0.01 249 0.0001 12.6 4.55 33700 0.1 216 13.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 4/4/25 Obtained: Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 18.02 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 4/4/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.02 0.001 0.0012 396 0.003 0.004 10200 0.148 0.51 0.001 0.029 0.0004 0.008 7.03 4360 0.01 0.064 6.98 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 5/12/24 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.057 0.04 0.088 4.73 3250 0.014 95.8 40100 299 0.55 0.01 1120 0.0011 28.1 3.51 52800 0.1 411 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 6/4/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002 0.044 0.001 0.0003 6650 0.002 0.002 18700 0.035 0.05 0.001 0.047 0.0001 0.008 7.11 1440 0.01 0.034 46.18 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 6/4/25 Obtained: 14/4/25 Published: 22/05/2025 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.07 0.001 0.0006 7260 0.007 0.002 22800 0.044 0.7 0.001 0.024 0.0002 0.009 6.93 1860 0.01 0.072 40.72 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 6/4/25 Obtained: 14/4/25 Published: 30/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.017 0.009 0.001 0.0001 6230 0.001 0.002 20400 0.04 0.05 0.001 0.016 0.0001 0.008 7.22 1220 0.04 0.012 39.4 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

Milligrams per litre

Microsiemens per centimetre

Metres