Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[May] [2025]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [MAY] [2025] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 10/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 42.41 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 10/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.10 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 10/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 53.40 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 10/5/25 Obtained: DRY Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 10/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 9.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 10/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 32.41 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 10/5/25 Obtained: D/M/Y Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 35.12 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.017 0.021 0.001 0.0002 3760 0.006 0.004 14100 0.026 1.01 0.001 0.085 0.0001 0.018 7.56 1930 0.01 0.047 11.92 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.031 0.001 0.0006 4980 0.002 0.001 18400 0.114 0.78 0.001 0.085 0.0001 0.02 7.69 2640 0.01 0.11 9.52 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 10/5/25 Obtained: DRY Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 32.46 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.004 0.038 0.001 0.0001 6280 0.002 0.002 23000 0.009 0.38 0.001 0.369 0.0001 0.01 7.8 1930 0.01 0.036 41.27 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.003 0.033 0.001 0.0005 5310 0.002 0.007 18600 0.073 0.61 0.001 0.148 0.0002 0.01 7.94 2360 0.01 0.108 42.02 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.028 0.001 0.0001 3330 0.001 0.001 12100 0.004 0.08 0.001 0.021 0.0001 0.002 7.89 999 0.01 0.007 35.36 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.048 0.001 0.0001 7970 0.001 0.001 27300 0.01 0.46 0.001 0.462 0.0001 0.011 7.73 2920 0.01 0.023 11.91 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: 10/5/25 Obtained: D/M/Y Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 84.40 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 10/5/25 Obtained: D/M/Y Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 60.39 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: 11/7/24 Obtained: D/M/Y Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 42.23 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 10/5/25 Obtained: DRY Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 10/5/25 Obtained: DRY Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

# [MAY] [2025] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 9/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.031 0.01 0.0011 8400 0.01 0.012 31100 0.088 0.45 0.01 0.242 0.0001 0.107 7.79 4710 0.1 0.236 4.17 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 12.56 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.25 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 11/5/25 Obtained: 28/10/22 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.49 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 21.21 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.65 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.98 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.25 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 22.54 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP292A | Quarterly |  | Sampled: 9/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.176 0.01 0.308 5.82 1380 1.47 99.9 35400 546 933 0.01 581 0.0003 28.6 3.38 56000 0.78 504 8.87 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP294 | Monthly |  | Sampled: 8/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.022 0.01 0.572 2110 0.01 7.64 31700 20.7 1.01 0.01 50 0.0001 2.7 6.88 18500 0.1 38.2 13.55 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 11/5/25 Obtained: Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 18.22 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 7/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.009 0.001 0.0043 402 0.003 0.071 9890 0.347 0.75 0.001 0.408 0.0001 0.048 7.52 4750 0.01 0.545 6.91 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 7/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.07 0.033 0.091 4.45 3320 0.026 79.8 43400 266 0.51 0.01 815 0.0007 24.7 3.48 48400 0.1 354 11.30 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.04 0.001 0.0042 5810 0.002 0.048 21000 0.143 0.52 0.001 0.369 0.0001 0.023 7.96 1750 0.01 0.34 46.26 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 21/06/2025 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.054 0.001 0.0004 7340 0.003 0.002 25900 0.006 1.54 0.001 0.049 0.0002 0.006 7.78 1850 0.01 0.02 40.79 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 10/5/25 Obtained: 20/5/25 Published: 31/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.023 0.008 0.001 0.0007 6410 0.024 0.017 22500 0.136 4.92 0.003 0.113 0.0009 0.032 8.1 1460 0.05 0.184 39.45 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

Milligrams per litre

Microsiemens per centimetre

Metres