Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[June] [2025]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [June] [2025] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 7/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 10.87 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 7/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.35 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 7/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 53.27 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 7/6/25 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 7/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 9.10 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 7/6/25 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.024 0.001 0.0004 2690 0.001 0.015 10900 0.061 0.05 0.001 0.29 0.0001 0.026 7.66 2110 0.01 0.138 32.54 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 8/6/25 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.064 0.001 0.0002 3750 0.001 0.008 16200 0.004 0.05 0.001 1.58 0.0001 0.016 7.84 3560 0.01 0.064 35.51 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 7/6/25 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 14.37 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 11/7/24 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 10.54 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 8/6/25 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.008 0.063 0.001 0.0004 2360 0.001 0.006 9590 0.068 0.05 0.001 0.56 0.0001 0.022 7.31 1490 0.01 0.131 32.51 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 7/6/25 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 40.81 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 8/6/25 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 41.85 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 7/6/25 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 35.45 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 7/6/25 Obtained: D/M/Y Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 11.82 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: 9/6/25 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.025 0.001 0.0003 3230 0.001 0.002 11300 0.025 0.05 0.001 0.042 0.0001 0.021 7.93 777 0.01 0.166 84.51 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 8/6/25 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.01 0.001 0.0002 3930 0.001 0.001 13100 0.013 0.05 0.001 0.013 0.0001 0.012 7.81 906 0.01 0.06 58.07 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: 11/7/24 Obtained: 17/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.057 0.001 0.0001 4620 0.001 0.001 16200 0.001 0.05 0.001 1.31 0.0001 0.005 7.89 1660 0.01 0.033 42.62 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 9/6/25 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 9/6/25 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

# [June] [2025] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.036 0.01 0.0034 8340 0.012 0.048 30400 0.305 2.12 0.017 0.497 0.0001 0.134 7.63 4150 0.1 0.497 5.66 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.042 0.001 0.0004 3600 0.008 0.012 17900 0.077 1.71 0.01 0.431 0.0001 0.029 7.44 5200 0.01 0.082 12.32 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 22/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.23 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 19/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.024 0.01 0.0013 9680 0.012 0.01 33600 0.144 0.44 0.018 0.098 0.0001 0.017 7.25 2980 0.1 0.182 17.33 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 19/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 21.40 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 19/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.74 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: 19/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.95 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 19/6/25 Obtained: Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.22 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 19/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.041 0.001 0.0004 5380 0.001 0.009 18400 0.033 0.4 0.001 0.217 0.0001 0.009 7.73 1410 0.01 0.125 22.59 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - GIP292A | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.079 0.01 0.234 5.46 1450 1.32 86 34700 461 748 0.01 496 0.0002 26.3 3.38 50600 0.72 452 10.25 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - GIP292AS | Monthly |  | Sampled: 21/6/25 Obtained: DRY Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.026 0.01 0.555 1710 0.01 7.24 31800 18.4 1.1 0.01 46.5 0.0001 2.62 6.97 21600 0.1 35.6 14.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01 0.041 0.01 0.001 9030 0.01 0.01 30900 0.026 0.17 0.01 0.356 0.0001 0.01 7.47 2420 0.1 0.052 18.42 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.01 0.001 0.0006 393 0.001 0.009 9950 0.035 0.2 0.001 0.067 0.0001 0.013 7.42 4680 0.01 0.105 8.84 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 21/6/25 Obtained: 1/7/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.036 0.041 0.083 4.78 3300 0.021 76.1 41100 273 5.45 0.017 836 0.0014 25.9 3.54 47400 0.1 376 13.12 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 10/6/25 Obtained: 18/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.039 0.001 0.0003 6150 0.001 0.003 18800 0.018 0.05 0.001 0.051 0.0001 0.014 7.58 1370 0.01 0.072 46.31 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 10/6/25 Obtained: 18/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001 0.053 0.001 0.0005 8020 0.001 0.004 22800 0.06 0.46 0.001 0.106 0.0001 0.017 7.56 1750 0.01 0.135 41.29 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 10/6/25 Obtained: 18/6/25 Published: 29/07/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.022 0.008 0.001 0.0001 6690 0.001 0.003 20000 0.047 0.15 0.001 0.024 0.0001 0.014 7.84 1430 0.04 0.088 39.17 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

Milligrams per litre

Microsiemens per centimetre

Metres