Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[Feburuary ] [2026]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http:/www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http:/www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [JANUARY] [2026] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 10/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 43.87 | m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 10/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 26.53 | m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 10/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 52.44 | m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 10/01/2026 Obtained: 20/01/2026 Published: 23/03/2026 | Arsenic | 0.002 | mg/L |
|  |  |  |  | Barium | 0.023 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0009 | mg/L |
|  |  |  |  | Chloride | 5900 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.011 | mg/L |
|  |  |  |  | Conductivity (EC) | 17900 | µS/cm |
|  |  |  |  | Copper | 0.089 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | 0.002 | mg/L |
|  |  |  |  | Manganese | 0.051 | mg/L |
|  |  |  |  | Mercury | 0.0002 | mg/L |
|  |  |  |  | Nickel | 0.026 | mg/L |
|  |  |  |  | pH | 6.99 | pH Unit |
|  |  |  |  | Sulfate | 1560 | mg/L |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.328 | mg/L |
|  |  |  |  | SWL | 72.21 | m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 10/03/2026 Obtained: Published: 22/02/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 10/01/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 10/02/2026 Obtained: Published: 23/02/2026 | Arsenic | 0.024 | mg/L |
|  |  |  |  | Barium | 0.02 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0001 | mg/L |
|  |  |  |  | Chloride | 3780 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 13600 | µS/cm |
|  |  |  |  | Copper | 0.015 | mg/L |
|  |  |  |  | Iron | 1.02 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.06 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.006 | mg/L |
|  |  |  |  | pH | 7.32 | pH Unit |
|  |  |  |  | Sulfate | 1690 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.099 | mg/L |
|  |  |  |  | SWL | 14.76 | m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 10/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.012 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0001 | mg/L |
|  |  |  |  | Chloride | 5230 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.002 | mg/L |
|  |  |  |  | Conductivity (EC) | 18500 | µS/cm |
|  |  |  |  | Copper | 0.029 | mg/L |
|  |  |  |  | Iron | 0.92 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.065 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.016 | mg/L |
|  |  |  |  | pH | 7.29 | pH Unit |
|  |  |  |  | Sulfate | 2820 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.079 | mg/L |
|  |  |  |  | SWL | 11.34 | m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 10/02/2026 Obtained: 21/02/2026 Published: 23/02/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 33.34 | m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 10/02/2026 Obtained: 21/02/2026 Published: 23/03/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.028 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0001 | mg/L |
|  |  |  |  | Chloride | 3600 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 11900 | µS/cm |
|  |  |  |  | Copper | 0.001 | mg/L |
|  |  |  |  | Iron | 5.62 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.075 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.001 | mg/L |
|  |  |  |  | pH | 7.63 | pH Unit |
|  |  |  |  | Sulfate | 954 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.008 | mg/L |
|  |  |  |  | SWL | 34.76 | m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 10/02/2026 Obtained: 21/02/2026 Published: 23/03/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.011 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0001 | mg/L |
|  |  |  |  | Chloride | 7090 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 25000 | µS/cm |
|  |  |  |  | Copper | 0.002 | mg/L |
|  |  |  |  | Iron | 0.06 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.074 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.001 | mg/L |
|  |  |  |  | pH | 7.27 | pH Unit |
|  |  |  |  | Sulfate | 4100 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.011 | mg/L |
|  |  |  |  | SWL | 11.79 | m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 10/02/2026 Obtained: 21/02/2026 Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 53.85 | m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 10/02/2026 Obtained: Dry Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 10/02/2026 Obtained: Dry Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |

# [january ] [2026] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 10/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic | 0.01 | mg/L |
|  |  |  |  | Barium | 0.027 | mg/L |
|  |  |  |  | Beryllium | 0.01 | mg/L |
|  |  |  |  | Cadmium | 0.001 | mg/L |
|  |  |  |  | Chloride | 8030 | mg/L |
|  |  |  |  | Chromium | 0.01 | mg/L |
|  |  |  |  | Cobalt | 0.01 | mg/L |
|  |  |  |  | Conductivity (EC) | 29200 | µS/cm |
|  |  |  |  | Copper | 0.023 | mg/L |
|  |  |  |  | Iron | 2.34 | mg/L |
|  |  |  |  | Lead | 0.01 | mg/L |
|  |  |  |  | Manganese | 0.083 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.01 | mg/L |
|  |  |  |  | pH | 7.27 | pH Unit |
|  |  |  |  | Sulfate | 4850 | mg/L |
|  |  |  |  | Vanadium | 0.1 | mg/L |
|  |  |  |  | Zinc | 0.05 | mg/L |
|  |  |  |  | SWL | 7.63 | m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 10/01/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 22.56 | m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 11/02/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 24.24 | m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 11/02/2026 Obtained: Published: 3/02/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 17.18 | m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 11/02/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 21.55 | m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 11/02/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 17.86 | m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 11/01/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 25.06 | m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 11/02/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 22.56 | M |
| EPA ID No. 14 - GIP292A |  |  | Sampled: 12/02/2026 Obtained: 21/02/2026 Published: 23/03/2026 | Arsenic | 0.113 | Mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium | 0.284 | mg/L |
|  |  |  |  | Cadmium | 5.31 | mg/L |
|  |  |  |  | Chloride | 1470 | mg/L |
|  |  |  |  | Chromium | 0.567 | mg/L |
|  |  |  |  | Cobalt | 92 | mg/L |
|  |  |  |  | Conductivity (EC) | 33900 | µS/cm |
|  |  |  |  | Copper | 415 | mg/L |
|  |  |  |  | Iron | 535 | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese | 555 | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel | 27.1 | mg/L |
|  |  |  |  | pH | 3.3 | pH Unit |
|  |  |  |  | Sulfate | 58200 | mg/L |
|  |  |  |  | Vanadium | 0.51 | mg/L |
|  |  |  |  | Zinc | 469 | mg/L |
|  |  |  |  | SWL | 11.9 | m |
| EPA ID No. 16 - GIP292AS | Monthly |  | Sampled: 12/01/2026 Obtained: Dry Published: 22/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 12/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic | 0.01 | mg/L |
|  |  |  |  | Barium | 0.01 | mg/L |
|  |  |  |  | Beryllium | 0.017 | mg/L |
|  |  |  |  | Cadmium | 4.09 | mg/L |
|  |  |  |  | Chloride | 1550 | mg/L |
|  |  |  |  | Chromium | 0.01 | mg/L |
|  |  |  |  | Cobalt | 46 | mg/L |
|  |  |  |  | Conductivity (EC) | 48600 | µS/cm |
|  |  |  |  | Copper | 280 | mg/L |
|  |  |  |  | Iron | 0.22 | mg/L |
|  |  |  |  | Lead | 0.015 | mg/L |
|  |  |  |  | Manganese | 327 | mg/L |
|  |  |  |  | Mercury | 0.0005 | mg/L |
|  |  |  |  | Nickel | 15.9 | mg/L |
|  |  |  |  | pH | 4.35 | pH Unit |
|  |  |  |  | Sulfate | 54600 | mg/L |
|  |  |  |  | Vanadium | 0.1 | mg/L |
|  |  |  |  | Zinc | 262 | mg/L |
|  |  |  |  | SWL | 15.82 | m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 11/02/2026 Obtained: Published: 23/03/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 18.29 | m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 11/01/2026 Obtained: 20/01/2026 Published: 22/02/2026 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.017 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0005 | mg/L |
|  |  |  |  | Chloride | 1680 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.006 | mg/L |
|  |  |  |  | Conductivity (EC) | 14700 | µS/cm |
|  |  |  |  | Copper | 0.022 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.046 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.011 | mg/L |
|  |  |  |  | pH | 7.06 | pH Unit |
|  |  |  |  | Sulfate | 5830 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.327 | mg/L |
|  |  |  |  | SWL | 11.11 | m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 12/02/2026 Obtained: 20/03/2026 Published: 23/03/2026 | Arsenic | 0.048 | mg/L |
|  |  |  |  | Barium | 0.032 | mg/L |
|  |  |  |  | Beryllium | 0.077 | mg/L |
|  |  |  |  | Cadmium | 3.93 | mg/L |
|  |  |  |  | Chloride | 1730 | mg/L |
|  |  |  |  | Chromium | 0.252 | mg/L |
|  |  |  |  | Cobalt | 67.8 | mg/L |
|  |  |  |  | Conductivity (EC) | 39900 | µS/cm |
|  |  |  |  | Copper | 211 | mg/L |
|  |  |  |  | Iron | 2.04 | mg/L |
|  |  |  |  | Lead | 0.01 | mg/L |
|  |  |  |  | Manganese | 694 | mg/L |
|  |  |  |  | Mercury | 0.0003 | mg/L |
|  |  |  |  | Nickel | 22.1 | mg/L |
|  |  |  |  | pH | 3.56 | pH Unit |
|  |  |  |  | Sulfate | 45300 | mg/L |
|  |  |  |  | Vanadium | 0.1 | mg/L |
|  |  |  |  | Zinc | 298 | mg/L |
|  |  |  |  | SWL | 14.26 | m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 11/02/2026 Obtained: 19/02/2026 Published: 23/03/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.032 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0003 | mg/L |
|  |  |  |  | Chloride | 6060 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.003 | mg/L |
|  |  |  |  | Conductivity (EC) | 18600 | µS/cm |
|  |  |  |  | Copper | 0.007 | mg/L |
|  |  |  |  | Iron | 0.05 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.05 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.005 | mg/L |
|  |  |  |  | pH | 7.58 | pH Unit |
|  |  |  |  | Sulfate | 1320 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.017 | mg/L |
|  |  |  |  | SWL | 47.7 | m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 11/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.046 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0004 | mg/L |
|  |  |  |  | Chloride | 7490 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 22300 | µS/cm |
|  |  |  |  | Copper | 0.01 | mg/L |
|  |  |  |  | Iron | 0.05 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.007 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.005 | mg/L |
|  |  |  |  | pH | 7.51 | pH Unit |
|  |  |  |  | Sulfate | 1580 | mg/L |
|  |  |  |  | Vanadium | 0.01 | mg/L |
|  |  |  |  | Zinc | 0.022 | mg/L |
|  |  |  |  | SWL | 46.01 | m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 11/02/2026 Obtained: 20/02/2026 Published: 23/03/2026 | Arsenic | 0.005 | mg/L |
|  |  |  |  | Barium | 0.003 | mg/L |
|  |  |  |  | Beryllium | 0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0001 | mg/L |
|  |  |  |  | Chloride | 6430 | mg/L |
|  |  |  |  | Chromium | 0.001 | mg/L |
|  |  |  |  | Cobalt | 0.002 | mg/L |
|  |  |  |  | Conductivity (EC) | 19800 | µS/cm |
|  |  |  |  | Copper | 0.006 | mg/L |
|  |  |  |  | Iron | 0.09 | mg/L |
|  |  |  |  | Lead | 0.001 | mg/L |
|  |  |  |  | Manganese | 0.042 | mg/L |
|  |  |  |  | Mercury | 0.0001 | mg/L |
|  |  |  |  | Nickel | 0.008 | mg/L |
|  |  |  |  | pH | 7.81 | pH Unit |
|  |  |  |  | Sulfate | 1380 | mg/L |
|  |  |  |  | Vanadium | 0.02 | mg/L |
|  |  |  |  | Zinc | 0.012 | mg/L |
|  |  |  |  | SWL | 40.14 | m |