Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[April] [2026]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [April] [2026] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 23/4/26 Obtained: 1/5/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001. 0.012. 0.001. 0.0182. 3130. 0.001. 0.242. 13700. 1.42. 0.06. 0.001. 1.71. 0.0001. 0.086. 7.7. 2450. 0.01. 1.31. 42.3. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 23/4/26 Obtained: 1/5/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001. 0.01. 0.001. 0.0001. 2160. 0.001. 0.003. 14800. 0.004. 0.62. 0.001. 0.128. 0.0001. 0.006. 7.72. 5360. 0.01. 0.047. 26.92. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 23/4/26 Obtained: 1/5/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.004. 0.026. 0.001. 0.0001. 4110. 0.002. 0.004. 19700. 0.001. 15.7. 0.001. 1.66. 0.0001. 0.006. 7.66. 3750. 0.01. 0.008. 52.66. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 23/4/25 Obtained: DRY Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL |  | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 23/4/26 Obtained: 1/5/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.005 0.019 0.001 0.0001 3520 0.003 0.01 14500 0.001 0.56 0.001 0.796 0.0001 0.018 7.67 999 0.01 0.006 14.55 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002 0.035 0.001 0.0001 2610 0.001 0.001 11400 0.001 1.01 0.001 0.34 0.0001 0.002 7.44 2900 0.01 0.005 38.25 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.002. 0.022. 0.001. 0.0001. 2670. 0.002. 0.013. 18200. 0.003. 1.72. 0.001. 2.88. 0.0001. 0.014. 7.76. 7370. 0.01. 0.046. 41.21. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 14.83 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 24/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 11.45. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 33.64 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 40.44 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 42.1 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 34.64. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 11.86. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 23/4/26 Obtained: D/M/Y Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 53.46 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

# [April] [2025] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/25 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01. 0.029. 0.01. 0.001. 5940. 0.01. 0.01. 29700. 0.01. 1.72. 0.01. 0.082. 0.0001. 0.01. 7.6. 4840. 0.1. 0.05. 8.13. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 13.13 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 24.24 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 17.2 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 21.59 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 18.07 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 22.6. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 25.18. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 14 - GIP292A | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.038. 0.01. 0.403. 5.69. 1340. 2.58. 109. 33800. 498. 650. 0.01. 703. 0.0001. 31.1. 3.34. 61800. 0.65. 588. 12.37. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 23/5/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01. 0.01. 0.028. 3.36. 1460. 0.028. 43.8. 45300. 257. 4.21. 0.011. 307. 0.0003. 14.4. 4.48. 45000. 0.1. 229. 16.18. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 23/4/26 Obtained: Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 18.28 | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001. 0.017. 0.001. 0.0002. 1490. 0.001. 0.002. 17400. 0.008. 0.05. 0.001. 0.046. 0.0001. 0.005. 7.23. 6420. 0.01. 0.024. 11.49. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.01. 0.029. 0.094. 4.73. 1870. 0.042. 85.9. 40500. 256. 5.36. 0.01. 941. 0.0004. 27.5. 3.59. 58700. 0.1. 371. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001. 0.042. 0.001. 0.0004. 6410. 0.001. 0.004. 19700. 0.034. 0.05. 0.001. 0.055. 0.0002. 0.005. 7.63. 1240. 0.01. 0.088. 48.02. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2025 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.001. 0.046. 0.001. 0.0004. 7390. 0.001. 0.001. 24500. 0.006. 0.05. 0.001. 0.008. 0.0001. 0.004. 7.42. 1680. 0.01. 0.025. 46.84. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 23/4/26 Obtained: 14/4/26 Published: 22/05/2026 | Arsenic Barium Beryllium Cadmium Chloride Chromium Cobalt Conductivity (EC) Copper Iron Lead Manganese Mercury Nickel pH Sulfate Vanadium Zinc SWL | 0.009. 0.007. 0.001. 0.0001. 6730. 0.001. 0.002. 21300. 0.019. 0.76. 0.001. 0.053. 0.001. 0.009. 7.84. 1270. 0.02. 0.037. 40.4. | mg/L mg/L mg/L mg/L mg/L mg/L mg/L µS/cm mg/L mg/L mg/L mg/L mg/L mg/L pH Unit mg/L mg/L mg/L m |

Milligrams per litre

Microsiemens per centimetre

Metres