Tritton and Girilambone Operations

Monthly Environmental Monitoring Report

[August] [2026]

Environmental Protection License 11254

TRITTON COPPER MINE

YARRANDALE ROAD, HERMIDALE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=11254&id=11254&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

Environmental Protection License 4501

TRITTON COPPER MINE

BOORAMUGGA ROAD, GIRILAMBONE, NSW, 2831

http://www.epa.nsw.gov.au/prpoeoapp/Detail.aspx?instid=4501&id=4501&option=licence&searchrange=licence&range=POEO licence&prp=no&status=Issued

# [August] [2026] – Groundwater Monitoring Report

# TRITTON OPERATIONS licence no.11254

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 11254 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 12 - PZH001 | Quarterly |  | Sampled: 24/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 36.55 | m |
| EPA ID No. 13 - PZH002 | Quarterly |  | Sampled: 24/08/2026 Obtained: Published: 18/09//2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 27.46 | m |
| EPA ID No. 14 - PZH003 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 52.74 | m |
| EPA ID No. 15 - PZH004 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 70.25 | m |
| EPA ID No. 16 - PZH005 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 14.75 | m |
| EPA ID No. 17 - PZH006 | Quarterly |  | Sampled: 23//08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 38.77 | m |
| EPA ID No. 18 - PZH007 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 42.28 | m |
| EPA ID No. 19 - PZH008 | Quarterly |  | Sampled: 23/08/2026 Obtained: 21/08/2025 Published: 23/09/2025 | Arsenic | 0.027 | mg/L |
|  |  |  |  | Barium | 0.02 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 3970 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | <0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 13100 | µS/cm |
|  |  |  |  | Copper | <0.001 | mg/L |
|  |  |  |  | Iron | 1.46 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.061 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | <0.001 | mg/L |
|  |  |  |  | Sulfate | 1820 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.006 | mg/L |
|  |  |  |  | PH | 6.7 | mg/L |
|  |  |  |  | SWL | 14.89 | m |
| EPA ID No. 20 - PZH009 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 18/09/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.021 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 5480 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.006 | mg/L |
|  |  |  |  | Conductivity (EC) | 17600 | µS/cm |
|  |  |  |  | Copper | 0.001 | mg/L |
|  |  |  |  | Iron | 0.28 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.075 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.01 | mg/L |
|  |  |  |  | Sulfate | 2990 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.011 | mg/L |
|  |  |  |  | PH | 6.64 | mg/L |
|  |  |  |  | SWL | 11.76 | m |
| EPA ID No. 22 - PZH013 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | Sulfate |  | pH Unit |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | PH |  | mg/L |
|  |  |  |  | SWL | 34.27 | m |
| EPA ID No. 23 - PZH014 | Quarterly |  | Sampled: 20/8/2026 Obtained: Published: 18/9/2026 | Arsenic | 0.001 | mg/L |
|  |  |  |  | Barium | 0.003 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 4310 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.009 | mg/L |
|  |  |  |  | Conductivity (EC) | 14300 | µS/cm |
|  |  |  |  | Copper | <0.001 | mg/L |
|  |  |  |  | Iron | 0.26 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.157 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.003 | mg/L |
|  |  |  |  | Sulfate | 2170 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.01 | mg/L |
|  |  |  |  | PH | 6.59 | mg/L |
|  |  |  |  | SWL | 41.09 | m |
| EPA ID No. 24 - PZH015 | Quarterly |  | Sampled: 20/8/2026 Obtained: Published: 18/9/2026 | Arsenic | Text Value | mg/L |
|  |  |  |  | Barium | 0.002 | mg/L |
|  |  |  |  | Beryllium | 0.017 | mg/L |
|  |  |  |  | Cadmium | <0.001 | mg/L |
|  |  |  |  | Chloride | <0.0001 | mg/L |
|  |  |  |  | Chromium | 4900 | mg/L |
|  |  |  |  | Cobalt | 0.003 | mg/L |
|  |  |  |  | Conductivity (EC) | 0.002 | µS/cm |
|  |  |  |  | Copper | 17200 | mg/L |
|  |  |  |  | Iron | <0.001 | mg/L |
|  |  |  |  | Lead | 1.31 | mg/L |
|  |  |  |  | Manganese | <0.001 | mg/L |
|  |  |  |  | Mercury | 0.359 | mg/L |
|  |  |  |  | Nickel | <0.0001 | mg/L |
|  |  |  |  | Sulfate | 0.006 | pH Unit |
|  |  |  |  | Vanadium | 4090 | mg/L |
|  |  |  |  | Zinc | <0.01 | mg/L |
|  |  |  |  | PH | <0.005 | mg/L |
|  |  |  |  | SWL | 6.6 | m |
| EPA ID No. 25 - PZH017 | Quarterly |  | Sampled: 20/8/2026 Obtained: Published: 18/9/2026 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.031 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 3670 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 11600 | µS/cm |
|  |  |  |  | Copper | <0.001 | mg/L |
|  |  |  |  | Iron | 5.87 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.088 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.001 | mg/L |
|  |  |  |  | Sulfate | 881 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.009 | mg/L |
|  |  |  |  | PH | 7.01 | mg/L |
|  |  |  |  | SWL | 33.85 | m |
| EPA ID No. 26 - PZH018 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 18/9/2026 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.011 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 7380 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | <0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 23400 | µS/cm |
|  |  |  |  | Copper | <0.001 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.08 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.001 | mg/L |
|  |  |  |  | Sulfate | 4220 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | <0.005 | mg/L |
|  |  |  |  | PH | 6.71 | mg/L |
|  |  |  |  | SWL | 11.95 | m |
| EPA ID No. 27 - PZH019 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 18/9/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | Sulfate |  | pH Unit |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | PH |  | mg/L |
|  |  |  |  | SWL | 81.45 | m |
| EPA ID No. 28 - PZH020 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | Sulfate |  | pH Unit |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | PH |  | mg/L |
|  |  |  |  | SWL | 52.22 | m |
| EPA ID No. 29 - PZH021 | Quarterly |  | Sampled: 20/08/2026 Obtained: Published: 19/08/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 42.47 | m |
| EPA ID No. 30 - PZH022 | Quarterly |  | Sampled: 12/08/2026 Obtained: Dry Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 31 - PZH023 | Quarterly |  | Sampled: 12/08/2026 Obtained: Dry Published: 23/09/2025 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |

# [August] [2026] – Groundwater Monitoring Report

# GIRILAMBONE OPERATIONS licence no.4501

|  |  |  |  | Licensee: TRITTON RESOURCES LIMITED EPL No. 4501 |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Sample Point | Monitoring Frequency |  | Date | Parameter | Measurement | Unit |
| EPA ID No. 2 - GIP224 | Monthly |  | Sampled: 22/08/2026 Obtained: 21/08/2025 Published: 18/09/2026 | Arsenic | <0.010 | mg/L |
|  |  |  |  | Barium | 0.023 | mg/L |
|  |  |  |  | Beryllium | <0.010 | mg/L |
|  |  |  |  | Cadmium | <0.0010 | mg/L |
|  |  |  |  | Chloride | 8360 | mg/L |
|  |  |  |  | Chromium | <0.010 | mg/L |
|  |  |  |  | Cobalt | <0.010 | mg/L |
|  |  |  |  | Conductivity (EC) | 30000 | µS/cm |
|  |  |  |  | Copper | <0.010 | mg/L |
|  |  |  |  | Iron | 1.26 | mg/L |
|  |  |  |  | Lead | <0.010 | mg/L |
|  |  |  |  | Manganese | 0.122 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | <0.010 | mg/L |
|  |  |  |  | Sulfate | 5120 | pH Unit |
|  |  |  |  | Vanadium | <0.10 | mg/L |
|  |  |  |  | Zinc | <0.050 | mg/L |
|  |  |  |  | PH | 6.63 | mg/L |
|  |  |  |  | SWL | 8.19 | m |
| EPA ID No. 3 - GIP225 | Monthly |  | Sampled: 23/08/2026 Obtained: Published: 23/08/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 13.42 | m |
| EPA ID No. 4 - GIP234 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 24.35 | m |
| EPA ID No. 5 - GIP273 | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 17.24 | m |
| EPA ID No. 6 - GIP276 | Quarterly |  | Sampled: 8/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 21.57 | m |
| EPA ID No. 8 - GIP277 | Quarterly |  | Sampled: 08/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 15.5 | m |
| EPA ID No. 9 - GIP278 | Quarterly |  | Sampled: Obtained: Published: | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 10 - GIP279A | Quarterly |  | Sampled: 18/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 25.13 | m |
| EPA ID No. 11 - GIP280A | Quarterly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 22.75 | M |
| EPA ID No. 14 - GIP292A |  |  | Sampled: 23/08/2025 Obtained: 29/08/2025 Published: 23/09/2025 | Arsenic | 0.04 | mg/L |
|  |  |  |  | Barium | <0.010 | mg/L |
|  |  |  |  | Beryllium | 0.323 | mg/L |
|  |  |  |  | Cadmium | 6.14 | mg/L |
|  |  |  |  | Chloride | 1460 | mg/L |
|  |  |  |  | Chromium | 1.06 | mg/L |
|  |  |  |  | Cobalt | 101 | mg/L |
|  |  |  |  | Conductivity (EC) | 34600 | µS/cm |
|  |  |  |  | Copper | 471 | mg/L |
|  |  |  |  | Iron | 537 | mg/L |
|  |  |  |  | Lead | <0.010 | mg/L |
|  |  |  |  | Manganese | 655 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 30.5 | mg/L |
|  |  |  |  | Sulfate | 50800 | pH Unit |
|  |  |  |  | Vanadium | 0.53 | mg/L |
|  |  |  |  | Zinc | 527 | mg/L |
|  |  |  |  | PH | 3.43 | mg/L |
|  |  |  |  | SWL | 12.82 | m |
| EPA ID No. 16 - GIP292AS | Monthly |  | Sampled: 23/08/2026 Obtained: Dry Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL |  | m |
| EPA ID No. 18 - GIP294 | Monthly |  | Sampled: 22/08/2026 Obtained: 29/08/2026 Published: 18/09/2026 | Arsenic | <0.010 | mg/L |
|  |  |  |  | Barium | <0.010 | mg/L |
|  |  |  |  | Beryllium | 0.015 | mg/L |
|  |  |  |  | Cadmium | 4.37 | mg/L |
|  |  |  |  | Chloride | 1860 | mg/L |
|  |  |  |  | Chromium | <0.010 | mg/L |
|  |  |  |  | Cobalt | 48.9 | mg/L |
|  |  |  |  | Conductivity (EC) | 44600 | µS/cm |
|  |  |  |  | Copper | 284 | mg/L |
|  |  |  |  | Iron | 0.15 | mg/L |
|  |  |  |  | Lead | <0.010 | mg/L |
|  |  |  |  | Manganese | 345 | mg/L |
|  |  |  |  | Mercury | 0.0003 | mg/L |
|  |  |  |  | Nickel | 16.9 | mg/L |
|  |  |  |  | Sulfate | 43400 | pH Unit |
|  |  |  |  | Vanadium | <0.10 | mg/L |
|  |  |  |  | Zinc | 273 | mg/L |
|  |  |  |  | PH | 4.69 | mg/L |
|  |  |  |  | SWL | 16.44 | m |
| EPA ID No. 19 - GIP295 | Monthly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic |  | mg/L |
|  |  |  |  | Barium |  | mg/L |
|  |  |  |  | Beryllium |  | mg/L |
|  |  |  |  | Cadmium |  | mg/L |
|  |  |  |  | Chloride |  | mg/L |
|  |  |  |  | Chromium |  | mg/L |
|  |  |  |  | Cobalt |  | mg/L |
|  |  |  |  | Conductivity (EC) |  | µS/cm |
|  |  |  |  | Copper |  | mg/L |
|  |  |  |  | Iron |  | mg/L |
|  |  |  |  | Lead |  | mg/L |
|  |  |  |  | Manganese |  | mg/L |
|  |  |  |  | Mercury |  | mg/L |
|  |  |  |  | Nickel |  | mg/L |
|  |  |  |  | pH |  | pH Unit |
|  |  |  |  | Sulfate |  | mg/L |
|  |  |  |  | Vanadium |  | mg/L |
|  |  |  |  | Zinc |  | mg/L |
|  |  |  |  | SWL | 18.33 | m |
| EPA ID No. 20 - GIP296 | Monthly |  | Sampled: 23/08/2026 Obtained: Published: 18/09/2026 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.012 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0002 | mg/L |
|  |  |  |  | Chloride | 1830 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 17300 | µS/cm |
|  |  |  |  | Copper | 0.003 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.014 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.006 | mg/L |
|  |  |  |  | Sulfate | 5790 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.016 | mg/L |
|  |  |  |  | PH | 6.5 | mg/L |
|  |  |  |  | SWL | 10.72 | m |
| EPA ID No. 27 - GIP313 | Monthly |  | Sampled: 23/08/2026 Obtained: Published: 28/9/2026 | Arsenic | 0.014 | mg/L |
|  |  |  |  | Barium | 0.04 | mg/L |
|  |  |  |  | Beryllium | 0.113 | mg/L |
|  |  |  |  | Cadmium | 5.58 | mg/L |
|  |  |  |  | Chloride | 3240 | mg/L |
|  |  |  |  | Chromium | 0.021 | mg/L |
|  |  |  |  | Cobalt | 78.9 | mg/L |
|  |  |  |  | Conductivity (EC) | 38300 | µS/cm |
|  |  |  |  | Copper | 256 | mg/L |
|  |  |  |  | Iron | 0.51 | mg/L |
|  |  |  |  | Lead | <0.010 | mg/L |
|  |  |  |  | Manganese | 964 | mg/L |
|  |  |  |  | Mercury | 0.0005 | mg/L |
|  |  |  |  | Nickel | 25.8 | mg/L |
|  |  |  |  | Sulfate | 50500 | pH Unit |
|  |  |  |  | Vanadium | <0.10 | mg/L |
|  |  |  |  | Zinc | 377 | mg/L |
|  |  |  |  | PH | 3.67 | mg/L |
|  |  |  |  | SWL | 0.014 | m |
| EPA ID No. 28 – AT001 | Monthly |  | Sampled: 22/08/2026 Obtained: Published: 18/09/2026 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.041 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0003 | mg/L |
|  |  |  |  | Chloride | 6010 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.004 | mg/L |
|  |  |  |  | Conductivity (EC) | 18100 | µS/cm |
|  |  |  |  | Copper | 0.003 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.059 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.009 | mg/L |
|  |  |  |  | Sulfate | 1260 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.035 | mg/L |
|  |  |  |  | PH | 6.75 | mg/L |
|  |  |  |  | SWL | 48.83 | m |
| EPA ID No. 29 – AT002 | Monthly |  | Sampled: 11/08/2025 Obtained: 21/08/2025 Published: 23/09/2025 | Arsenic | <0.001 | mg/L |
|  |  |  |  | Barium | 0.049 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | 0.0002 | mg/L |
|  |  |  |  | Chloride | 7720 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | <0.001 | mg/L |
|  |  |  |  | Conductivity (EC) | 21700 | µS/cm |
|  |  |  |  | Copper | <0.001 | mg/L |
|  |  |  |  | Iron | <0.05 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.007 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.003 | mg/L |
|  |  |  |  | Sulfate | 1670 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | 0.005 | mg/L |
|  |  |  |  | PH | 6.59 | mg/L |
|  |  |  |  | SWL | 48.18 | m |
| EPA ID No. 30 – AT003 | Monthly |  | Sampled: 11/08/2025 Obtained: 21/08/2025 Published: 23/09/2025 | Arsenic | 0.005 | mg/L |
|  |  |  |  | Barium | 0.004 | mg/L |
|  |  |  |  | Beryllium | <0.001 | mg/L |
|  |  |  |  | Cadmium | <0.0001 | mg/L |
|  |  |  |  | Chloride | 6390 | mg/L |
|  |  |  |  | Chromium | <0.001 | mg/L |
|  |  |  |  | Cobalt | 0.004 | mg/L |
|  |  |  |  | Conductivity (EC) | 19000 | µS/cm |
|  |  |  |  | Copper | 0.002 | mg/L |
|  |  |  |  | Iron | 1.12 | mg/L |
|  |  |  |  | Lead | <0.001 | mg/L |
|  |  |  |  | Manganese | 0.109 | mg/L |
|  |  |  |  | Mercury | <0.0001 | mg/L |
|  |  |  |  | Nickel | 0.007 | mg/L |
|  |  |  |  | Sulfate | 1300 | pH Unit |
|  |  |  |  | Vanadium | <0.01 | mg/L |
|  |  |  |  | Zinc | <0.005 | mg/L |
|  |  |  |  | PH | 7 | mg/L |
|  |  |  |  | SWL | 40.89 | m |